# Chimney Inspection and Cleaning

1.	Contractor shall supply all labor, materials, tools, and equipment necessary to complete the work specified herein.

2.	Contractor shall obtain all necessary permits, licenses, and inspections and give all notices, necessary and incidental, for completion of the work.

3.	All work shall be performed in a safe manner.  Barricades and temporary supports shall be furnished and maintained by the Contractor and shall conform to OSHA standards.

4.	Clean-up shall be on a daily basis.

5.	The Contractor shall visually inspect all chimneys specified to determine if cleaning is required. Items to be inspected shall include the firebox, dome, damper, termination, and the visible areas of the stainless steel liner center.

6.	If cleaning is required Contractor shall first mask off the resident living area to prevent any ash or soot from coming in contact with any resident belongings or apartment fixtures.

7.	Where cleaning is required Contractor shall use modern, power driven brushes and clean the chimney from the inside of the unit up to the spark arrestor at the chimney cap.

8.	The Contractor shall clean-up all materials from each unit to a “before cleaning” condition.

9.	The Contractor shall provide the on site staff with a written detailed report on the condition of all chimneys inspected to include a listing of any required or recommended repairs.

10.	The Contractor shall coordinate this work closely with the property manager so that a forty eight (48) hour  notice can be given to the resident.

(9)