- Mailboxes and postal lockers

- The mailboxes shall be installed/replaced per the requirements of the Project

- Manager and the following specifications.

- Install aluminum (mill finish or anodized bronze) in the configuration specified for the project.

- The mailboxes shall be Auth Florence 1400 Series or equal and must meet all postal requirements for locking and access.   The Contractor shall submit manufacturer’s data for approval by the Project Manager prior to ordering any material or commencing construction.

- Manufacturer:

- Auth Florence Manufacturing Co.

- Extruded aluminum doors and frame

- 5 pin cylinder cam lock

- E – plate coating process over aluminum

- (Check with manufacturer for availability of anodized bronze)

- The door boxes shall have stamped numbers to match the configuration specified.

- The Contractor shall be responsible for all work related to the installation of the mailboxes to include replacement of any damaged trim material and repainting of all affected surfaces in the work area.